## Slide 1: Appeal for "The Church"
Unfair Enforcement of Commercial Exhaust Hood System
By: Pastor Lisa Mills
2/29/24

## Slide 2: Background and History
Built to code in 2013
Occupancy load of 54
Has an approved fire alarm system
Cooking appliances used only once a month.
The attached daycare uses kitchen Monday-Friday for warming lunches and bottles.

## Slide 3: Introduction
Enforced installation of a commercial exhaust hood system at "The Church."
Reasons for the appeal.

## Slide 4: Inspection History
Date | Status
February 19, 2021 | Passed
January 26, 2022 | Passed
February 7, 2023 | Passed
January 31, 2024 | Failed
What changed?

## Slide 5: Lack of Historical Requirement
The residential equipment has been in use for 11 years without violation notification.
Requesting grandfathered status due to historical compliance.

## Slide 6: Kitchen Usage
Monthly pancake breakfast
Daycare uses for warming lunches and bottles
Cleaned after each use and very well maintained
The occasional nature of use minimizes potential fire risk.

## Slide 7: Equipment Used
All residential, not commercial-grade
All electric
Well maintained and cleaned

## Slide 8: Community Impact
Community Building and Social Bonding
Gathering Point:
  The pancake breakfast serves as a regular gathering point for community members, fostering a sense of belonging and unity.
Social Interactions:
  Provides an informal setting for residents to interact, share stories, and build meaningful connections with one another.
  Fundraising for Community Initiatives
  Support for Local Causes:
    Often, the pancake breakfast serves as a fundraising event, with proceeds directed towards the community, such as supporting schools, charities, or local development projects.
  Financial Assistance:
    The funds generated contribute to the financial well-being of the community and enable the church to continue its charitable work.

## Slide 9: Financial Impact
Finacial burden on the church for an unexpected requirement.
Potential impacts on church programs.
Potential impacts on the daycare.

## Slide 10: Daycare Operations
Operates Independently
Uses the kitchen for warming bottles and preparing lunch only
Relies on the kitchen to operate daily

## Slide 11: Safety Measures Already in Place
Approved fire alarm
Certified fire extinguishers
Emergency lights
Emergency exit signs

## Slide 12: Conclusion
In conclusion, I respectfully request a reassessment of the enforcement of a commercial exhaust hood system at "The Church" based on the compelling points presented in this appeal.
Throughout this presentation, we have demonstrated:
Historical Compliance
  Consistent passage of inspections over 11 years.
  No prior mention of exhaust hood system requirement.
Residential Equipment Usage
  Kitchen equipment is residential, not commercial-grade.
  Occasional use for monthly member breakfasts.
Daycare Facility Distinction
  Daycare is unaffiliated, uses kitchen minimally.
  Activities align with warming bottles and preparing lunches.

## Slide 13: Conclusion, cont.
Code Interpretation Challenge​
  Question the sudden imposition without prior notification.​
  Past interpretations with no violations cited.​
Financial Impact​
  Proposed system imposes a significant financial burden.​
  Potential impact on essential church programs and services.​
Requested Remedy​
  Propose reassessment considering historical compliance.​
  Emphasize the residential nature of equipment and limited risk.
  The already existing fire protection systems.

## Slide 14: Questions?